## Slide 1: Young's Modulus Measurement Based on Accelerometer
VM395 Laboratory I
Tue Group 1
Hanzhi Wang, Junjie Luo, Yixuan Wang
August 5, 2019

## Slide 2: Outline
Introduction
Experiment
Discussion

## Slide 3: Introduction
Yixuan Wang

## Slide 4: Background Information
Stiffness
Design
Analysis
Figure Resource: https://www.youtube.com/watch?reload=9&v=2SRMq0pzTgI

## Slide 5: Beam Vibration

## Slide 6: Old Method
Displacement
Voltage
Resistance
Strain Gauge
Wheatstone Bridge Circuit
Linear Transformation

## Slide 7: Old Method
Expected voltage output
Curve Fitting!

## Slide 8: Old Method
?

## Slide 9: New Method
Displacement
Acceleration
Accelerometer
Accurate but …

## Slide 10: New Method

## Slide 11: New Method
Accelerometer
Output
(𝑔 ⃗+𝑎 ⃗ )_𝑥
(𝑔 ⃗+𝑎 ⃗ )_𝑦
(𝑔 ⃗+𝑎 ⃗ )_𝑧
Gesture
Acceleration

## Slide 12: New Method
Solution:
  Magic: approximation
Amazing Result!

## Slide 13: Problem
Problem
  Can method based on accelerometer work?
  How well does method based on accelerometer work, compared with old method?

## Slide 14: Experiment
Junjie Luo

## Slide 15: Equipment
Equipment
Thickness t
Width b
Length t
Aluminum beam
Clamp
ADXL337 Accelerometer
Top View
Side View
Vibration (Acceleration)
Notes: I will firstly introduce the equipment briefly. This is our equipment and the circuit. We attached an accelerometer to the beam, and the accelerometer is also connected into a DAQ device, which supply its required working voltage and record the output voltages of the accelerometer. We will vibrate the end of the beam and record the output voltage of the circuit.

## Slide 16: Procedure
2
3
Analyze data
Record acceleration
LabView
Vibrate the beam
Several times
large and small
Set up equipment
Attach accelerometer
Set up circuit
1
4
Fitting
Calculation

## Slide 17: Result
Average E = 56.22Gpa
Young’s Modulus
Natural Frequency
Damping Ratio
Curve Fitting
Time Period Td
Beam Parameters

## Slide 18: Discussion
Hanzhi Wang

## Slide 19: LabVIEW Recording Error
Time recording error of LabVIEW
Find average time interval = 0.005s and assign time points manually
Problematic with MATLAB
Time data is incorrect

## Slide 20: Static Gesture of Accelerometer
Gesture of accelerometer not aligned horizontally
  At steady state:
Acceleration |  |  | 
Experimental Value, g |  |  | 
Theoretical Value, g |  |  | 
Acceleration |  |  | 
Experimental Value, g |  |  | 
Theoretical Value, g |  |  | 

## Slide 21: Static Gesture of Accelerometer
Acceleration is distributed into 3 axes
Does not affect E calculation.
Oscillation amplitude is smaller than actual value.

## Slide 22: Non-linear Damping
Damping ratio is not constant, although load is the same
  increases as oscillation amplitude increases.
 | Set 1 | Set 2 | Set 3 | Set 4
Max Acceleration, |  |  |  | 
Damping ratio |  |  |  | 
 | Set 1 | Set 2 | Set 3 | Set 4
Damping ratio |  |  |  | 

## Slide 23: Non-linear Damping
Larger Amplitude
Larger Damping Ratio
Inconsistent with Linear ODE Model

## Slide 24: Non-linear Damping
Model accuracy is affected:
  Log fit

## Slide 25: Conclusion: Evaluation
Gesture does not affect E calculation.
Precise but not accurate.
  Relative standard deviation of E is 2%.
  Affected by non-linear damping, is not ideal.

## Slide 26: Conclusion: Comparison
Simple configuration and less noise.
Improved accuracy

## Slide 27: Conclusion: Future Improvement
Add a load to the end of the beam to eliminate tension effect of wires.
Load

## Slide 28: Thank you Q & A
Notes: I will talk about the experiment part.